## Calculus Ubat
Calculus of Ubat
Ubat is the global thermal deperdition coefficient of the building with its insolation |  |  |  | Ubat = Ht/At
At is the total surface of the envelop in sq.mt |  | At = Afront south + A front east + Afront north + Afront west + Afloor + Aroof
Ht is the coefficient of loss by transmission of the batiment in W/K |  |  | Ht = 1,2*sum (bi*Ai*Ui)
bi correction coefficient, bi = 0,6 if there is a direct contact with a non-warm local or bi =1 if there is a direct contact with the exterior
Ui = thermal deperdition coefficient for each wall in W/sqm²K, Ui = 1/(Rsi+Rse + ei/λi)
Rsi et Rse, interior and exterior superficial resistances in sqm²K/W |  |  |  | vertical wall : Rsi = 0,13 Rse= 0,04 ;
ei, depth of the wall i in m |  |  |  | celling: Rsi=0,10 Rse=0,04 ;
λi thermal conductivity of the wall i in W/mK |  |  |  | floor : Rsi=0,17 Rse=0,04 ;
if the wall communicates with a non-warm local, Rse=Rsi
Wall | Surface (sqm) | Siding (sqm) | Window (sqm) | Insolator (sqm) | Cover floor (sqm) | Cover celling (sqm) | Rsi = 1/hi (sqmK/W) | Rse = 1/he (sqmK/W)
Front South |  | 0 |  | 0 |  |  | 0.13 | 0.04
Front East |  | 0 |  | 0 |  |  | 0.13 | 0.04
Front North |  | 0 |  | 0 |  |  | 0.13 | 0.04
Front West |  | 0 |  | 0 |  |  | 0.13 | 0.04
Celling |  | - |  | - |  | 0 | 0.1 | 0.04
Floor |  | - |  | - | 0 |  | 0.17 | 0.04
Type of wall | surface (m²) | e siding (m) | λ siding(W/mK) | e insolator (m) | λ insolator (W/mK) | e cover floor(m) | λ cover floor (W/mK) | e coover celling (m) | λ cover celling (W/mK) | 1/U (m²K/W) | U (W/m²K) | b | Ht (W/K)
siding | 0 | [8 empty] | #DIV/0! | #DIV/0! | 1 | #DIV/0!
window | 0 | [8 empty] | - | 1.2 | 1 | 0
cover floor | 0 | [8 empty] | #DIV/0! | #DIV/0! | 1 | #DIV/0!
cover celling | 0 | [8 empty] | #DIV/0! | #DIV/0! | 1 | #DIV/0!
total | 0 | [11 empty] | #DIV/0!
At | 0
Ubat | #DIV/0!
Examples of sidings | Wood: λ=0,0245 W/mK
Brick: λ= 0,5 W/mK
Examples of cover | Plaster: λ=0,46 W/mK
Concrete: λ=1,5 W/mK
Examples od insolator | Polystyrene: λ=0,04 W/mK
Glass wool: λ = 0,04 W/mK

## calculus Urt2005
Calculus of Ubat RT 2005
Ubat rt2005 is the global thermal deperdition coefficient of the building defined by the law prescription
Ubat rt 2005 = (sum(aiAi) + sum(ajLj))/sum(Ai)
ai : coefficients given by the regulation similar to biUi defined for Ubat |  |  |  |  | ai coefficients
A1 : surface of vertical opaque walls except A5, A6 and A7 |  |  |  |  | a1 | 0.36
A2 : surface of high cellings and roofs except A3 |  |  |  |  | a2 | 0.2
A3 : Surface of high cellings in contact with an exterior in concrete |  |  |  |  | a3 | 0.27
A4 : surface of lower floors |  |  |  |  | a4 | 0.27
A5 : Surface of doors, except doors in glass |  |  |  |  | a5 | 1.5
A6 : surface of windows, doors in glass for non-residential buildings |  |  |  |  | a6 | 2.1
A7 : surface of windows, doors in glass for residential buildings |  |  |  |  | a7 | 1.8
L8 : periphery of lower floors |  |  |  |  | a8 | 0.4
L9 : periphery of intermediary floors |  |  |  |  | a9 | 0.55
L10 : periphery of high cellings |  |  |  |  | a10 | 0.5
| Ai or Lj | ai | Ai*ai and Lj*aj
1 |  | 0.36 | 0
2 |  | 0.2 | 0
3 |  | 0.27 | 0
4 |  | 0.27 | 0
5 |  | 1.5 | 0 | U bat rt 2005 = | #DIV/0!
6 |  | 2.1 | 0
7 |  | 1.8 | 0
8 |  | 0.4 | 0
9 |  | 0.55 | 0
10 |  | 0.5 | 0
Sum Ai | 0

## calculus Q
Calculus of Qs, solar gains
Qs, solar gains |  | Qs = (Iss*Ass+Ise*Ase+Isn*Asn+Isw*Asw)*24*NJ/1000 in kWh/year
With Isi : monthly average of direct normal radiation on a vertical plan i (i=south, east, north, west) in W/sqm
Asi = equivalent surface in sqm of the front i : As = F*S*A with F shade factor, F= 1 ; S solar factor, S= 0,8 ; and A surface of the windows exposed to i (north, south, east, west)
24 is the number of hour per day
NJ is the number of day per month
1000 allows to have the result in kilos
Sun openning
windows north |  | surface |  |  |  | windows east |  | surface
|  | solar factor | 0.8 |  |  |  |  | solar factor | 0.8
|  | shade factor | 1 |  |  |  |  | shade factor | 1
| equivalent surface north |  | 0 |  |  |  | equivalent surface east |  | 0
windows south |  | surface |  |  |  | windows west |  | surface
|  | solar factor | 0.8 |  |  |  |  | solar factor | 0.8
|  | shade factor | 1 |  |  |  |  | shade factor | 1
| equivalent surface south |  | 0 |  |  |  | equivalent surface west |  | 0
Month | NJ | Iss | Isw | Isn | Ise | Qss | Qsw | Qsn | Qse | Qs
january | 31 | 67.9667 | 56.4123 | 22.429 | 56.4123 | 0 | 0 | 0 | 0 | 0
february | 28 | 82.65 | 68.5995 | 27.2745 | 68.5995 | 0 | 0 | 0 | 0 | 0
march | 31 | 94.15 | 78.1445 | 31.0695 | 78.1445 | 0 | 0 | 0 | 0 | 0
april | 30 | 119.0167 | 98.7838 | 39.2755 | 98.7838 | 0 | 0 | 0 | 0 | 0
may | 31 | 128.2 | 106.406 | 42.306 | 106.406 | 0 | 0 | 0 | 0 | 0
june | 30 | 154.1833 | 127.9722 | 50.8805 | 127.9722 | 0 | 0 | 0 | 0 | 0
july | 31 | 145.9667 | 121.1523 | 48.169 | 121.1523 | 0 | 0 | 0 | 0 | 0
august | 31 | 141.8833 | 117.7632 | 46.8215 | 117.7632 | 0 | 0 | 0 | 0 | 0
september | 30 | 145.3833 | 120.6682 | 47.9765 | 120.6682 | 0 | 0 | 0 | 0 | 0
october | 31 | 104.1833 | 86.4722 | 34.3805 | 86.4722 | 0 | 0 | 0 | 0 | 0
november | 30 | 92.2333 | 76.5537 | 30.437 | 76.5537 | 0 | 0 | 0 | 0 | 0
december | 31 | 108.3167 | 89.9028 | 35.7445 | 89.9028 | 0 | 0 | 0 | 0 | 0
| 0 Qs: Qs total = | 0 | kWh/year
Calculus of Qi, inner gains
Qi, inner gains | equivalent surface south NJ: Qi = 4 * Abat * 24 *NJ/1000 in kWh/year
Abat: surface inhabitable in sqm | 0 Isw: Abat =
Nj number of days per month
Month | equivalent surface south NJ: NJ; equivalent surface south Iss: Qs; 0 Isw: Qi; 0 Isn: Qg = Qs+Qi
january | equivalent surface south NJ: 31; equivalent surface south Iss: 0; 0 Isw: 0; 0 Isn: 0
february | equivalent surface south NJ: 28; equivalent surface south Iss: 0; 0 Isw: 0; 0 Isn: 0
march | equivalent surface south NJ: 31; equivalent surface south Iss: 0; 0 Isw: 0; 0 Isn: 0
april | 30 | 0 | 0 | 0 |  | Qs, total solar gains = | 0 | kWh/year
may | 31 | 0 | 0 | 0 |  |  | #DIV/0! | kWh/sqm/year
june | 30 | 0 | 0 | 0 |  | Qi, total inner gains = | 0 | kWh/year
july | 31 | 0 | 0 | 0 |  |  | #DIV/0! | kWh/sqm/year
august | 31 | 0 | 0 | 0 |  | Qg, total gains = | 0 | kWh/year
september | 30 | 0 | 0 | 0 |  |  | #DIV/0! | kWh/sqm/year
october | equivalent surface south NJ: 31; equivalent surface south Iss: 0; 0 Isw: 0; 0 Isn: 0
november | equivalent surface south NJ: 30; equivalent surface south Iss: 0; 0 Isw: 0; 0 Isn: 0
december | equivalent surface south NJ: 31; equivalent surface south Iss: 0; 0 Isw: 0; 0 Isn: 0
Calculus of thermal losses Qe
Qe, thermal losses | equivalent surface south Iss: Qe = H (Tint-Text)*24*NJ/1000 in kWh/year
H = Ht + Hv total thermal déperdition coefficient in W/K | 0 Qse: H =; 0 Qs: #DIV/0!
Ht=Ubat*At | 0 Qse: Ht =; 0 Qs: #DIV/0!
Hv = 0,34 * air flow* warmed volume | 0 Isn: air flow = 0,5 vol/h; 0 Qss: warmed volume in m^3 =; 0 Qse: Hv =; 0 Qs: 0
Tint, interior temperature generally equal to 21°C
Text, exterior temperature given by meteorologic datas in °C
Month | equivalent surface south NJ: NJ; equivalent surface south Iss: Text in °C; 0 Isw: Tint in °C; 0 Isn: Qe
january | equivalent surface south NJ: 31; equivalent surface south Iss: 8; 0 Isw: 21; 0 Isn: #DIV/0!
february | equivalent surface south NJ: 28; equivalent surface south Iss: 7; 0 Isw: 21; 0 Isn: #DIV/0!
march | 31 | 10 | 21 | #DIV/0! |  | Qe, total losses = | #DIV/0! | kWh/year
april | 30 | 14 | 21 | #DIV/0! |  |  | #DIV/0! | kWh/sqm/year
may | equivalent surface south NJ: 31; equivalent surface south Iss: 18; 0 Isw: 21; 0 Isn: #DIV/0!
june | equivalent surface south NJ: 30; equivalent surface south Iss: 21; 0 Isw: 21; 0 Isn: #DIV/0!
july | equivalent surface south NJ: 31; equivalent surface south Iss: 22; 0 Isw: 21; 0 Isn: #DIV/0!
august | equivalent surface south NJ: 31; equivalent surface south Iss: 23; 0 Isw: 21; 0 Isn: #DIV/0!
september | equivalent surface south NJ: 30; equivalent surface south Iss: 20; 0 Isw: 21; 0 Isn: #DIV/0!
october | equivalent surface south NJ: 31; equivalent surface south Iss: 19; 0 Isw: 21; 0 Isn: #DIV/0!
november | equivalent surface south NJ: 30; equivalent surface south Iss: 13; 0 Isw: 21; 0 Isn: #DIV/0!
december | equivalent surface south NJ: 31; equivalent surface south Iss: 11; 0 Isw: 21; 0 Isn: #DIV/0!
Evaluation of the parameter η for the use of warming
η, use of warming parameter | 0 Isw: η = (1-γ^a)/(1-γ^b)
γ, ratio between gains and losses | 0 Isw: γ = Qg/Qe
a, factor | 0 Isw: a= 1+Cm/(16H); 0 Ise: a =; 0 Qss: #DIV/0!
b, factor | 0 Isw: b= 2 +Cm/(16H); 0 Ise: b =; 0 Qss: #DIV/0!
Cm, factor | 0 Isw: Cm = (165/3,6)* Abat; 0 Ise: Cm =; 0 Qss: 0
H, global thermal deperdition coefficient
Month | NJ | Qs | Qi | Qg = Qs+Qi | Qe | γ = Qg/Qe | η
january | 31 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
february | 28 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
march | 31 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
april | 30 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
may | 31 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
june | 30 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
july | 31 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
august | 31 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
september | 30 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
october | 31 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
november | 30 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
december | 31 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
[13 empty] | température sans chauffage Tsc | Ti |  | Ti-Tsc | date | Dates de saison de clim | nombres de jours de clim Njc | besoin clim Qh [KWh]
[13 empty] | 0 | 26 | 0 | 26 | 2010-01-15 |  |  | #DIV/0!
[13 empty] | 0 | 26 | 0 | 26 | 2010-02-15 |  |  | #DIV/0!
[13 empty] | 0 | 26 | 0 | 26 | 2010-03-15 |  |  | 0
[13 empty] | 0 | 26 | 0 | 26 | 2010-04-15 |  |  | 0
[13 empty] | 0 | 26 | 0 | 26 | 2010-05-15 |  |  | 0
[13 empty] | 0 | 26 | 0 | 26 | 2010-06-15 |  |  | 0
[13 empty] | 0 | 26 | 0 | 26 | 2010-07-15 |  |  | 0
[13 empty] | 0 | 26 | 0 | 26 | 2010-08-15 |  |  | 0
[13 empty] | 0 | 26 | 0 | 26 | 2010-09-15 |  |  | 0
[13 empty] | 0 | 26 | 0 | 26 | 2010-10-15 |  |  | 0
[13 empty] | 0 | 26 | 0 | 26 | 2010-11-15 |  |  | 0
[13 empty] | 0 | 26 | 0 | 26 | 2010-12-15 |  |  | #DIV/0!

## Warming and cooling
Warming and cooling |  |  |  | Month | NJ | Text | Qe | Qg | Tww | Ti |  | Ti-Tww | date | dates of warming |  | numbers of days of warming | Warming needs Qh (kWh)
|  |  |  | january | 31 | 8 | #DIV/0! | 0 | #DIV/0! | 21 | #DIV/0! | #DIV/0! | 2010-01-15 | #N/A | #N/A | #N/A | #DIV/0!
|  |  |  | february | 28 | 7 | #DIV/0! | 0 | #DIV/0! | 21 | #DIV/0! | #DIV/0! | 2010-02-15 | #N/A | #N/A | #N/A | #DIV/0!
Evaluation of inside temperature without warming |  |  |  | march | 31 | 10 | #DIV/0! | 0 | #DIV/0! | 21 | #DIV/0! | #DIV/0! | 2010-03-15 | #N/A | #N/A | #N/A | #DIV/0!
|  |  |  | april | 30 | 14 | #DIV/0! | 0 | #DIV/0! | 21 | #DIV/0! | #DIV/0! | 2010-04-15 | #N/A | #N/A | #N/A | #DIV/0!
Tww, temperature without warming | Tww = Text + Qg*1000/(H*NJ*24) |  |  | may | 31 | 18 | #DIV/0! | 0 | #DIV/0! | 21 | #DIV/0! | #DIV/0! | 2010-05-15 | #N/A | #N/A | #N/A | #DIV/0!
|  |  |  | june | 30 | 21 | #DIV/0! | 0 | #DIV/0! | 21 | #DIV/0! | #DIV/0! | 2010-06-15 | #N/A | #N/A | #N/A | #DIV/0!
Text, exterior temperature given by meteorogical datas in °C |  |  |  | july | 31 | 22 | #DIV/0! | 0 | #DIV/0! | 21 | #DIV/0! | #DIV/0! | 2010-07-15 | #N/A | #N/A | #N/A | #DIV/0!
H, total thermal deperdition coefficient in W/K |  | H = | #DIV/0! | august | 31 | 23 | #DIV/0! | 0 | #DIV/0! | 21 | #DIV/0! | #DIV/0! | 2010-08-15 | #N/A | #N/A | #N/A | #DIV/0!
Qg, total gains in kWh |  |  |  | september | 30 | 20 | #DIV/0! | 0 | #DIV/0! | 21 | #DIV/0! | #DIV/0! | 2010-09-15 | #N/A | #N/A | #N/A | #DIV/0!
|  |  |  | october | 31 | 19 | #DIV/0! | 0 | #DIV/0! | 21 | #DIV/0! | #DIV/0! | 2010-10-15 | #N/A | #N/A | #N/A | #DIV/0!
|  |  |  | november | 30 | 13 | #DIV/0! | 0 | #DIV/0! | 21 | #DIV/0! | #DIV/0! | 2010-11-15 | #N/A | #N/A | #N/A | #DIV/0!
|  |  |  | december | 31 | 11 | #DIV/0! | 0 | #DIV/0! | 21 | #DIV/0! | #DIV/0! | 2010-12-15 | #N/A | #N/A | #N/A | #DIV/0!
|  | end of warming | #N/A | #N/A | #N/A
|  |  |  | #N/A | #N/A |  |  |  | Tww | Ti |  | Ti-Tww | date | Dates of cooling |  | numbers of days cooling | Cooling needs Qh [KWh]
|  |  | nb days | #N/A |  |  |  |  | #DIV/0! | 26 | #DIV/0! | #DIV/0! | 2010-01-15 |  |  |  | #DIV/0!
|  |  | end | #N/A | jours |  |  |  | #DIV/0! | 26 | #DIV/0! | #DIV/0! | 2010-02-15 |  |  |  | #DIV/0!
|  |  | ending date | #N/A |  |  |  |  | #DIV/0! | 26 | #DIV/0! | #DIV/0! | 2010-03-15 |  |  |  | #DIV/0!
|  |  |  | #N/A |  |  |  |  | #DIV/0! | 26 | #DIV/0! | #DIV/0! | 2010-04-15 |  |  |  | #DIV/0!
|  | start of warming | #N/A | #N/A | #N/A |  |  |  | #DIV/0! | 26 | #DIV/0! | #DIV/0! | 2010-05-15 |  |  |  | #DIV/0!
|  |  |  | #N/A | #N/A |  |  |  | #DIV/0! | 26 | #DIV/0! | #DIV/0! | 2010-06-15 |  |  |  | #DIV/0!
|  |  | nb days | #N/A |  |  |  |  | #DIV/0! | 26 | #DIV/0! | #DIV/0! | 2010-07-15 |  |  |  | #DIV/0!
|  |  | start | #N/A | jours |  |  |  | #DIV/0! | 26 | #DIV/0! | #DIV/0! | 2010-08-15 |  |  |  | #DIV/0!
|  |  | starting date | #N/A |  |  |  |  | #DIV/0! | 26 | #DIV/0! | #DIV/0! | 2010-09-15 |  |  |  | #DIV/0!
|  |  |  | #N/A |  |  |  |  | #DIV/0! | 26 | #DIV/0! | #DIV/0! | 2010-10-15 |  |  |  | #DIV/0!
[9 empty] | #DIV/0! | 26 | #DIV/0! | #DIV/0! | 2010-11-15 |  |  |  | #DIV/0!
[9 empty] | #DIV/0! | 26 | #DIV/0! | #DIV/0! | 2010-12-15 |  |  |  | #DIV/0!